## Sheet1
Pre-Inspection OK |  | DESCRIPTION | COMMENTS
Yes | No
BUILDING EXTERIOR
Fire Department Access
Building Address
Fire Department Connection
Fire Lane Maintenance
Fire Escape Drop Ladder
TEST RECORDS A) Monthly Generator B) Monthly Emergency Power C) Monthly Fire Alarm
CHIEF REGULATION #4 (1-YEAR) A) Central Station Signaling System B) Elevators, Automatic D) Fire Escape Assemblies E) Fire Warning Systems F) Communication Systems G) Emergency Power H) Smoke Control Systems 1) Fire Protection Assemblies · Stair Shaft Door Locks · Magnetic Door Holders · Dumbwaiter Doors, Access Doors, and Fire Windows
CHIEF REGULATION #4 (5-YEARS) A) Fire Protection Assemblies B) Refrigerant Discharge System C) Special Extinguishing Systems D) Sprinkler Systems, Automatic E) Standpipe Systems
PERMITS A) Fire Permit B) Division #5 C) Division #119 D) Public Assemblage E) Special Permits
EMERGENCY EVACUATION PROCEDURES A) Manual B) Drill C) Procedures
LOBBY
LOCK BOX A) Building Inventory B) Keys
FIRE CONTROL ROOM
PANEL Lockbox A) Building Inventory B) Keys Telephones Signage Exits
TENANT SPACES
BASIC FIRE CODE REQUIREMENTS
ROOF
ACCESS Helicopter Landing Pad A) Number Pounds Load B) Good Repair C) Wind Sock D) Clearances E) Magnetic North F) Class H Standpipe System G) Extinguishers Lighting Antennas / Obstructions Illegal Storage Exiting
STORAGE
Paths of Egress Clearance From Sprinklers
EXIT WAY
Proper Signage Lighting
CORRIDORS
Magnetic Door Hold Open Devices Wedged Open Doors Holes in Walls or Ceiling
UTILITY ROOMS (TEL., MECH., ETC.)
Wiring Wiring Sealing No Storage
GENERATOR
Battery Maintenance Logs Fuel
FIRE PUMP
Battery Maintenance Logs Fuel
FIRE EXTINGUISHER
Location Testing Current
HAZARDOUS MATERIALS
Identified Stored MSDS in Fire Control Room BP8 ( In Building Office)